## Sheet1
Specimen #: XYZ-000* | [7 empty] | Investigation: PHLX-2020-1 | [8 empty] | Laboratorian Initials
Specimen Type: Sputum | [11 empty] | Microbial Growth Key
Date Specimen Collected: 11/11/20 | [11 empty] | NG: | No growth |  |  | MG: | Moderate growth
Date Specimen Processed and Plated: 11/12/20 | [11 empty] | LG: | Light growth |  |  | HG: | Heavy growth
|  | Direct Inoculation | [5 empty] | 1:10 Specimen Dilution | [5 empty] | 1:100 Specimen Dilution
|  | BCYE |  | BCYE-S |  | BCYE-SG |  | BCYE |  | BCYE-S |  | BCYE-SG |  | BCYE |  | BCYE-S |  | BCYE-SG
|  | Growth | Colony #s | Growth | Colony #s | Growth | Colony #s | Growth | Colony #s | Growth | Colony #s | Growth | Colony #s | Growth | Colony #s | Growth | Colony #s | Growth | Colony #s
Day Post-inoculation (PI) | 3 | MG | 1,2 | LG | 3 | LG | 4 | LG | N/A | LG | 4 | NG | N/A | NG | N/A | NG | N/A | NG | N/A
4
5
6
7
8
9
10
11
12
13
14
*BCYE-S: BCYE + selection |  |  |  |  | **BCYE-SG: BCYE-S + glycine | [9 empty] | *This text is for example purposes only.
Worksheet Instructions: |  |  |  | 1. Record investigation, specimen, date, and laboratorian information.
2. Beginning 3 days post-inoculation, refer to the Growth Key to record observed microbial growth on each culture plate.
3. Record a number for each suspect Legionella colony picked for testing.
|  |  |  | 4. Record plate growth and colony picks daily until 14 days post-inoculation. | [13 empty] | May 2017